Enclosure 1: Module (Unit) Specification (MS)

Module Lists

| No. | Module ID | Module Name |
| --- | --- | --- |
| 1 | MS-001 | Measurement |
| 3 | MS-002 | Alarm Management |
| 4 | MS-003 | Data Storage |
| 5 | MS-004 | Dashboard (Grafana-based) & Report |

Module Specification

- Module Specification: Measurement (MS-001)

| Module ID | MS-001 |
| --- | --- |
| Module Name | Measurement |
| Description | The measured temperature data is processed and transmitted to the RPi. (Fig.1 Node-RED Data Processing Flow for MS-001) (Fig.2 Temperature Conversion Command) |

(Fig.3 Node-RED Data Processing Flow for MS-002)

Module Specification: Alarm Management (MS-002)

| Module ID | MS-002 |
| --- | --- |
| Module Name | Alarm Management |
| Description | The RPi receives and processes the incoming data via Node-RED. When the temperature meets the specified threshold, the system triggers and sends an alert notification via Line and Telegram. |

(Fig.4 Temperature and delay time settings for notifications)

(Fig.5 Commands for transmitting alert notifications via LINE and Telegram)

- Module Specification: Data Storage (MS-003)

| Module ID | MS-003 |
| --- | --- |
| Module Name | Data Storage |
| (Fig.6 Node-RED Data Processing Flow for MS-003) Description | The RPi transmits the processed data to a VM Server for storage within an InfluxDB database. |

(Fig.7 Configuring data transmission to the InfluxDB database)

- Module Specification: Dashboard (Grafana-based) & Report (MS-004)

| Module ID | MS-004 |
| --- | --- |
| Module Name | Dashboard (Grafana-based) & Report |
| Description | Transforms stored raw data into visual analytical tools for real-time monitoring and historical reporting. |

(Fig.8 Establishing a data connection to the InfluxDB database)

(Fig.9 Data retrieval queries for chart visualization)

(Fig.10 Data retrieval queries for gauge visualization)