|  | Prepared by | ……………..……………………………………………………….……………….. | Date ……………………………….…………………. |
| --- | --- | --- | --- |
|  |  | Head of Quality System Administration 3 |  |
|  | Reviewed by | ……………..……………………………………………………….……………….. | Date ……………………………….…………………. |
|  |  | Director of Quality System Administration Division |  |
|  | Approved by | ……………..……………………………………………………….……………….. | Date ……………………………….…………………. |
|  |  | Director of Quality Assurance Department |  |

Revision History

Note:	The issuance, revision, and withdrawal of all documents should be controlled and archived for at least 3 consecutive revisions. Documents changed from GMP impact must be controlled and archived every revision

| # Rev. No. | Eff. Date | Summary of Change |
| --- | --- | --- |
| 01 | 10 Apr 2026 | The first issue of this document. |

TABLE OF CONTENTS

REVISION HISTORY	1

1.	PURPOSE	3

2.	SCOPE	3

3.	REASON FOR RISK ASSESSMENT	3

4.	TEAM MEMBERS	4

5.	ACTIVITY: (PROCESS/ SYSTEM/ EQUIPMENT/ INSTRUMENT)	5

6.	DEFINITIONS AND METHODOLOGY	6

7.	CALCULATE THE SCORE BY USING THESE 2 STAGES	8

8.	IDENTIFICATION OF RISK INVOLVED	9

9.	NOTIFICATION AND CAPA	10

10.	MITIGATION CONTROL & RE-EVALUATION OF IDENTIFIED RISKS AFTER IMPLEMENTATION OF CAPA:	12

11.	TRAINING AND EVALUATION RECORD	13

12.	SUMMARY AND CONCLUSION	14

13.	REFERENCE DOCUMENTS	15

14.	ABBREVIATION	16

15.	ATTACHMENTS	17

16.	POST-EXECUTION APPROVAL	18

# PURPOSE

The objective of the risk management is to identify different risks involved in the specific process/ system/ equipment/ instrument in the division, evaluate the impact of the risk on the quality of the product/ service, the corrective action and preventive action and compliance verification for the management of the risk. It may refer to numerous types of threats caused by environment, technology, human and organization.

# SCOPE

The scope of the risk management is applicable to the specific process/ system/ equipment/ instrument and the operations in the division, where in the quality of the product/ service is affected.

# REASON FOR RISK ASSESSMENT

The risk assessment shall be performed, but not limited to the following cases:

- Likelihood of a significant adverse impact to product quality

- Upon regulatory agency request

- Introduction of new material/products

- Introduction of new or revised manufacturing processes

- Introduction of new equipment/instrument

- Significant compliance gaps

- Significant changes to processes, methods, or validated systems

- Significant modification of equipment/instrument

- Significant changes in facility/premises

- Implementation of new system

- Others (Specify)

________________________________________________

________________________________________________

________________________________________________

________________________________________________

________________________________________________

# TEAM MEMBERS

Following team members have been involved in the brain storming session of the risk management of this activity.

Date: ____________		Time: ____________		Venue: __________________

| No. | Name | Designation | Signature |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| 6. |  |  |  |
| 7. |  |  |  |
| 8. |  |  |  |
| 9. |  |  |  |
| 10. |  |  |  |
| 11. |  |  |  |
| 12. |  |  |  |
| 13. |  |  |  |
| 14. |  |  |  |
| 15. |  |  |  |
| 16. |  |  |  |
| 17. |  |  |  |
| 18. |  |  |  |

The details of the discussion of the risk management of the activity, including the process flow of the activity, identification of the risks involved in the activity and corrective action and preventive action of the risk involved in the activity shall be recorded in Step 5,8,9.

# ACTIVITY: (PROCESS/ SYSTEM/ EQUIPMENT/ INSTRUMENT)

Specify the activities wherein the risk management is required. (Tick the appropriate box)

Process

System

Equipment/ Instrument

Others: _______________

| Description: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ |  |  |  |
| --- | --- | --- | --- |
| Process Flow Diagram: |  |  |  |
| Performed by: |  | Date: |  |
| Reviewed by: |  | Date: |  |

# DEFINITIONS AND METHODOLOGY

6.1 	Severity of impact (S):

Identify the severity of impact of the risk on the quality of the product/ service. Categorize the severity of impact of risk as defined below:

| Category | Score | Description of Severity |
| --- | --- | --- |
| Catastrophic | 5 | - Enforcement action by Regulatory agency such as consent decree, product seizure - Very significant and catastrophic impact, significant losses and inefficiencies, necessitating immediate attention. Loss of operating capability, deterioration of efficiency - Critical deviation from GMP requirements - Batch failure : Batch does not or will not meet the specifications eg. Any degradation product exceeding the specification, Contamination (microbial or other type), etc. - Global product recalls (if any) |
| Critical | 4 | - Regulatory agency inspection may conclude serious non-compliance - Likely product recalls from one or more markets |
| Moderate | 3 | - Regulatory agency inspection may identify a major concern, but deficiency quite easily resolved - Limited product recalls possible - Impact on operations and efficiency, but not pervasive. Management intervention required. - Noticeable impact to product quality |
| Minor | 2 | - May require Regulatory agency notification - Decision to release product not compromised |
| Negligible | 1 | - No regulatory issue - No effect on and not noticeable by patient - Limited or no impact on operations and quality of operational efficiency - No impact to product quality and process robustness |

6.2  Probability of occurrence (P):

Identify the probability of occurrence of risk based on the frequency and categorize it as defined below:

| Category | Score | Probability of Occurrence | Description Probability of Occurrence |
| --- | --- | --- | --- |
| Rare | 1 | <10% | Seen every 10 – 30 years |
| Unlikely | 2 | 10 – 24% | Seen every 5 – 9 years |
| Possible | 3 | 25 – 59% | Seen every 1 – 4 years |
| Likely | 4 | 60 -89% | Seen to occur 2 - 3 times a year |
| Almost certain | 5 | > 90% | Seen to occur more than 3 times a year |

6.3 	Detectability (D):

Identify the detectability of impact of risk based on the detection control and categorize the detectability as defined below:

| Category | Score | Description of Detectability |
| --- | --- | --- |
| Undetectable | 5 | - No control exists - Detection controls are absent - Low likelihood that controls will detect the failure mode or its effects. - Insufficient information to adequately assess and rate the control |
| Poor | 4 | - Very little chance of detection - No procedural system in place, no risk reduction process procedure in place. |
| Moderate | 3 | - Not effective detection - Likely to be detected - Medium likelihood that controls will detect the failure mode or its effects. - Mitigation plans or risk reduction process and procedures though in place but do not ensure adequate control over risk occurrence / impact as the risk still exists over its acceptance level. |
| Good | 2 | - Very likely to be detected - Approved mitigation plans or risk reduction procedures, Checklists are laid down for early detection and immediate corrective actions are taken. |
| Excellent | 1 | - Very effective detection - 100% likelihood of detection - High likelihood that controls will detect the failure mode or its effects. - Mitigation plans or risk reduction process and procedures involve stringent approval and reporting norms with responsibility duly mapped to various management levels, minimizing possibility of occurrence / optimizing protection in the case of occurrence of the same at very early stage, controlling and reducing the risk. |

# CALCULATE THE SCORE BY RISK RANKING

Risk Ranking : Calculate the Risk Priority Number (RPN) for the particular risk by multiplying the scores of Severity, probability and detectability of Risk.

Risk Priority Number = S x P x D

Categorize the risk as Low risk, Medium risk or High risk, based upon the total score obtained, as follows:

| Risk Priority Number (RPN) |  |  | Probability Score (P) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1=Rare | 2=Unlikely | 3=Possible | 4=Likely | 5=Almost certain |
|  |  |  | 1 | 2 | 3 | 4 | 5 |
| Severity score (S) | 5=Catastrophic | 5 | 5 | 20 | 45 | 80 | 125 |
|  | 4=Critical | 4 | 4 | 16 | 36 | 64 | 100 |
|  | 3=Moderate | 3 | 3 | 12 | 27 | 48 | 75 |
|  | 2=Minor | 2 | 2 | 8 | 18 | 32 | 50 |
|  | 1=Negligible | 1 | 1 | 4 | 9 | 16 | 25 |
| RPN = S x P X D |  |  | 1 | 2 | 3 | 4 | 5 |
|  |  |  | 1=Excellent | 2=Good | 3=Moderate | 4=Poor | 5=Undetectable |
|  |  |  | Detectability Score (D) |  |  |  |  |

| Risk Priority Class | Obtained RPN Score | Risk | Risk Acceptance | Risk Control Action |
| --- | --- | --- | --- | --- |
| LOW RISK | 1 to 26 | Acceptable | Yes | No actions or new measures are required. |
| MEDIUM RISK | 27 to 63 | Unacceptable | No | Actions or new measures are required. The risk must be reduced to an acceptable level either technically of by SOP's. |
| HIGH RISK | 64 to 125 | Intolerable | No | Risk should be eliminated or reduced by protective measures. Actions or new measures are required. The risk must be reduced to an acceptable level either technically of by QP's. |

Note :

- In addition to RPN No. calculation, if the severity as ‘Catastrophic’ or ‘Critical’ (i.e. 4 or 5 score number) then final risk level shall be decided as ‘High risk’ irrespective of RPN number. It shall be considered special attention such as, checking the current process control are working properly, periodically re-training the operators, or revising/creating the SOP/WI to mitigate the risk, etc.

- In addition to RPN No. calculation, if any parameter is having severity as ‘Moderate’ (i.e. 3 score number) then final risk level shall be decided as at least ‘Medium risk’ unless and otherwise the risk is classified as High risk with RPN greater than 64.

Detectability

Probability

8.	IDENTIFICATION OF RISK INVOLVED

| No. | Potential failure mode |  | Potential failure impact | Severity | Potential cause |  |  | Current process controls |  | RPN | Risk Priority Class |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Performed by: |  |  |  |  |  | Date: |  |  |  |  |  |
| Reviewed by: |  |  |  |  |  | Date: |  |  |  |  |  |

Note: This sheet may be copied as necessary.												Page…....of…….

# 9.	NOTIFICATION AND CAPA

9.1	Notification and CAPA of high risk

| No. | Potential failure mode | Potential cause | RPN | Incidence Notification | Correction | Corrective/ Preventive action | Responsibility | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Performed by: |  |  |  | Date: |  |  |  |
|  | Reviewed by: |  |  |  | Date: |  |  |  |

Note: This sheet may be copied as necessary.												Page…....of…….

9.2	Notification and CAPA of medium risk

| No. | Potential failure mode | Potential cause | RPN | Incidence Notification | Correction | Corrective/ Preventive action | Responsibility | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Performed by: |  |  |  | Date: |  |  |  |
|  | Reviewed by: |  |  |  | Date: |  |  |  |

Note: This sheet may be copied as necessary.												Page…....of…….

# 10.	MITIGATION CONTROL & RE-EVALUATION OF IDENTIFIED RISKS AFTER IMPLEMENTATION OF CAPA:

| No. | Potential failure mode | Potential cause | Mitigation Control Reference Documents | Severity | Probability | Detectability | RPN | Risk Priority Class | Verified By (Sign & Date) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Performed by: |  |  |  | Date: |  |  |  |  |  |
| Reviewed by: |  |  |  | Date: |  |  |  |  |  |

Note: This sheet may be copied as necessary.												Page…....of…….

# 11.	TRAINING AND EVALUATION RECORD

| Date : ______________________ Venue : ______________________ Title : ______________________ |  |  | Timing : From______ to______ Name of Trainer : ___________________ Method of training: ___________________ |  |
| --- | --- | --- | --- | --- |
| No. | Name of Trainee | Trainee Code | Evaluation Details |  |
|  |  |  | Signature of Trainee | Remarks |
| Signature of Trainer (Sign/Date): __________________ |  |  |  |  |

| Comments: |  |  |  |
| --- | --- | --- | --- |
| Performed by: |  | Date: |  |
| Reviewed by: |  | Date: |  |

Note: This sheet may be copied as necessary.					Page…....of…….

# 12.	SUMMARY AND CONCLUSION

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

| Performed by: |  | Date: |  |
| --- | --- | --- | --- |
| Reviewed by: |  | Date: |  |

# 13.	REFERENCE DOCUMENTS

| No. | Title | Reference |
| --- | --- | --- |

| Performed by: |  | Date: |  |
| --- | --- | --- | --- |
| Reviewed by: |  | Date: |  |

# 14.	ABBREVIATION

| No. | Abbreviation | Description |
| --- | --- | --- |

| Performed by: |  | Date: |  |
| --- | --- | --- | --- |
| Reviewed by: |  | Date: |  |

# 15.	ATTACHMENTS

| No. | Description |
| --- | --- |

| Performed by: |  | Date: |  |
| --- | --- | --- | --- |
| Reviewed by: |  | Date: |  |

# 16.	POST-EXECUTION APPROVAL

Date:

(___________________________________)

___________________________________

Date:

(___________________________________)

____________________________________

Date:

(___________________________________)

___________________________________

Date:

(___________________________________)

Director of Validation Division

Date:

(___________________________________)

Director of Quality System Administration Division

Date:

(___________________________________)

Director of Quality Assurance Department